My understanding of the dimming of light over distance is predicted by the inverse square of the distance calculation.  That calculation is derived based on the following assumptions:

- A lamp located in the center of a sphere – spreads its light over the entire interior area of the sphere.

- The total energy of the light at the interior surface of the sphere – remains constant regardless of the diameter of the sphere.

- The energy of the light covering a fixed size window (3/4”2 or 363 mm2) on the surface of the sphere could be calculated by dividing the measured value (341 mv) of intensity at an initial location (12 mm) – by the square of that radius (144 mm2) = 2.368.

- A constant multiplier of 144 is applied to each increased radius value and multiplied by the initial value of 341 mv – to predict each value based on the inverse proportional square of the distance calculation.

- The multiplier is applied so that both curves (actual readings – Red, and inverse calculations – Green) could be compared on the same chart.

- Obviously, the green curve does not even come close to predicting the red curve.

Questions:

- Did I understand the inverse square concept properly?

- If so, did I calculate correctly?

- If so, is the inverse square concept based on the current understanding of the electromagnetic wave theory as it applies to light?

- If so, has any else noticed this discrepancy?

Testing Environment:

- A Shell 60mm x 60 mm solar panel was used as a detector.

- A mask was placed over the solar panel with a ¾ inch square hole in it.  This was to simulate the same sized window at the surface of a sphere.

- A matrix of 9 bright LEDs (about the same size as the ¾ inch window) – was mounted on a movable platform.  The lamps were powered at 7.01 VDC.  Readings began at 12 mm and increased by 5.2 mm each step – ending at 168 mm.