Steam at 30 bar and 500°C enters a pass-out turbine at a rate of 18000 kg h–1. The bulk of this steam is expanded isentropically to a condenser pressure of 0.03 bar, but 32% is bled from the turbine at a pressure of 3 bar for process heating. If the condensate from the process heater is directly pumped back to the boiler, find:

From the steam tables:

At 30 bar and 500 degrees

h1 = 3456 kJ/kg

s1 = 7.233 kJ/kg K

As the steam is expanded isentropically, S1 – S2 so…

At 3 bar

h			s

= 2762 kJ/kg		= 7.078

h2			= 7.234

= 2866 kJ/kg		= 7.312

2866-h2h2-2762=7.312-7.2347.234-7.078

h2-27620.078=0.1562866-h2

h2=2831.3 kJ/kg

From the saturated steam table…

At 0.03 bar

hf3 = 101 kJ/kg

sf3 = 0.354 kJ/kg K

hfg3 = 2444 kJ/kg

sfg3 = 8.222 kJ/kg K

Vu = Vf3 = 0.001003 m3/kg

s2=sf3+x38.222

7.234=0.354+x3(8.222)

x3=0.8367

h3=hf3+x3 hfg3

h3=101+0.83672444

h3=2145.9 kJ/kg

h5-hu=wp

wp=vup5-pu

=0.00100330-0.03

=0.03006 kJ/kg

Wp = 3.01 kJ/kg			h5=Wp+hu

=3.01+101

104.01 kJ/kg

- Power output from the turbine

P=msh1-h2+1-0.32h2-h3

=1800036003456-2831.3+0.682831.3-2145.9

=5453.86 kW

(b) the rate of process heating

Q=mph2-h5

=8470.536002831.3-561.4

=5340.89 kW

- the efficiency of the plant.

Qs=ms h1-mp h7-0.68 ms h5

Qs=7.3533456-8470.53600561.4-0.687.353103.99

=23571.09 kW

Q=0.68 ms (h3-h4)

=0.687.3532145.9-100.98=10224.68 kW

η=Qs-Qq=23571.09-10224.6823571.09=0.566

∴η =56.6%  efficiency